## Slide 1
System Startup Error Handling
System Control Subsystem
IMU Error Handling
Kinect Error Handling
Data Handling Instructions
Feedback Display Instructions
Control Instructions
Display No Error
If: No error
Display Error to Tech
Display Error to Tech
If: System Error
If: Posture Failure
Pass Data to Quantification
Delete Data and Restart Trial
“Fail” Flag
Detected
No “Fail”
Flag Detected

## Slide 2
Signal Syncing Subsystem
Access Sensor Data
Sensor Data Bank
Correct Signal Timing Discrepancies
Convert IMU Data from Velocity to Position
Signal Sync Algorithm
Apply Sync Factor and Store Data
Drift Correction
All Discrepancies Corrected?
No
Yes

## Slide 3
Drift Correction Subsystem
Access Synced IMU Sensor 1 Data
Signal Syncing
Determine Drift Factor
Apply Drift Correction to Data
Repeat for IMU Sensor 2
Store Data for Use in Quantification
Quantification
Access Calibration Data
Drift Correction Algorithm
Drift Correction Factor